Holy Name Catholic Primary School

Accessibility Plan

September 2019 / September 2022

Section 1:  Building and Facilities

Section 2:  Curriculum

Section 3:  Access to Information

Accessibility: Building and Facilities

|  | Building and Facilities p 1 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| HN 001 1. | Approach to school | Contact Highway’s (City Engineers) to provide improved paving around school. | Sept 2017 | D | Council | EHT / HoS/ Arcadis | Barriers erected by LCC. Children’s campaign re parking |
| HN 007 2. | Approach to school | Contact Highway’s (City Engineers) to provide ‘Drop off’ bay outside school. | Sept 2017 | D | Council | EHT / HoS/ Arcadis |  |
| HN 000 3. | Nursery entrance and exit. | Provide ramps and alternative steps to the entrance and exit. | Sept 2018 | C | £2,000 | Arcadis |  |
| HN 000 4. | Tactile warning/approach way finding provision. | Contact City Engineers to provide warnings and way finding provision. | Sept 2018 | D | Council | EHT / HoS/ Arcadis |  |
| HN 004 5. | Identification & Identification signage | Contact City Engineers to provide identification signage along routes. | Sept 2016 | A | £300 | EHT / HoS/ Arcadis | School has purchased some signage |
| HN 006 6. | Monitoring of access parking bays (abuse of) | Caretaker monitors use of bay and car park by unauthorised personnel. | ongoing | C | N/A | EHT | Ongoing |

Accessibility: Building and Facilities

|  | Building and Facilities p 2 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| HN 008 7. | Ramp dimensions | Quiet Room ramp to meet minimum requirement of 1000 mm (940 mm). | Sept 2018 | B | £500 | EHT / HoS/ Arcadis |  |
| HN 009 8. | Hand railing | Provide ramps and alternative steps to the entrance and exit. | Sept 2018 | B | £1,000 | EHT / HoS/ Arcadis |  |
| HN 010 9. | Lighting/signage/weather protection. | Provide lighting to the ramps. | Sept 2018 | B | £1400 | EHT / HoS/ Arcadis |  |
| HN 011 10. | Provision of alternative steps to ramps. | Provide steps as alternative to ramps. | Sept 2018 | B | £1000 | EHT / HoS/ Arcadis |  |
| HN 012 11. | Main entrance. Rises per flight/risers/grips | Adjust top riser to give 145 mm across free width of flight. | Sept 2018 | B | £50 | EHT / HoS/ Arcadis |  |
| HN 013 12. | Main entrance – nosings | Provide contrasting colour strips to nosings | Sept 2018 | B | £30 | EHT / HoS/ Arcadis |  |

Accessibility: Building and Facilities

|  | Building and Facilities p 3 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| HN 014 13. | Main entrance - Hand railing | Fix handrail at 900 mm to top & extend beyond bottom step, finished with closed ends. | Sept 2018 | B | £100 | EHT / HoS / Arcadis |  |
| HN 0016 14. | Main entrance – door widths | Provide door with at least one door leaf giving a minimum clear opening of 800 mm | Sept 2010 | A | £200 | EHT / HoS / Arcadis | Achieved |
| HN 016 15. | Main entrance – door widths | Vision panels in doors to provide a zone of vision between 500 mm & 1500 mm above floor level. | Sept 2010 | A | £100 | EHT / HoS / Arcadis | Achieved |
| HN 018 16. | Nursery threshold | Adapt threshold to provide level access. | Sept 2018 | A | £100 | EHT / HoS / Arcadis |  |
| HN 019 17. | Vision panels – Nursery | Provide vision panels giving a zone of vision between 500 mm & 1500 mm above floor level. | Sept 2010 | B | £200 | EHT / HoS / Arcadis | Achieved |
| HN 024 18. | Corridors – appropriate unobstructed width | Keep function to a minimum to provide the maximum unobstructed width. | As required | D | --- | All staff | Achieved |
| HN 027 19. | Lighting on Corridors | To upgrade lighting levels on corridors | Sept 2009 | C | £3000 | Arcadis | Achieved Oct 08 |

Accessibility: Building and Facilities

|  | Building and Facilities p 4 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| HN 028 20. | Projections from corridor walls. | Consideration to be given to providing recesses for radiators and fire appliances. | Sept 2018 | C | £2000 | Arcadis |  |
| HN 029 21. | Cross corridor doors | Provide doors with at least one door leaf giving minimum opening width of 750 mm. | Sept 2010 | C | £1500 | Arcadis | Achieved |
| HN 030 22. | Whole building – unobstructed access/ egress | Remove threshold and steps to provide level access/ to doors 2, 8, 9 and step at door 10. | Sept 2018 | B | £1000 | Arcadis |  |
| HN 031 23. | Whole building – vision panels | Provide doors with vision panels giving zone of vision between 500 mm and 1500 mm above floor level. | Sept 2012 | C | £1200 | Arcadis | Achieved |
| HN 032 24. | Whole building – door widths | Provide doors which give a minimum of 750 mm clear giving width on a single leaf | Sept 2012 | C | £2000 | Arcadis | Achieved |
| HN 037 25. | Whole building – vision panels on all doors | Provide vision panels giving zone of vision between 500 mm and 1600 mm above floor level on all doors (except Door 22, 25, 44) | Sept 2012 | C | £2000 | Arcadis | Achieved |

Accessibility: Building and Facilities

|  | Building and Facilities p 5 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| HN 035 26. | Whole building – opening pressure on doors | Check and provide opening pressure of maximum 20 newtons on door closures | Sept 2017 | B | £50 each | Arcadis | Achieved |
| HN 036 27. | Whole building – door widths | Provide a minimum clearing opening width to a single leaf of 750 mm. | Sept 2010 | C | £4000 | Arcadis | Achieved |
| HN 039 28. | Lighting in adult toilets | Upgrade lighting levels. | Sept 2009 | C | £450 | Arcadis | Achieved |
| HN 045 29.. | Accessible toilet facilities | Provide an additional accessible wc nearer to the main entrance. | Sept 2010 | C | £1000 | Arcadis | Achieved |
| HN 049 30. | Accessible toilet lighting | Upgrade the lighting level. | Sept 2010 | C | £180 | Arcadis | Achieved |
| HN 052 31. | Accessible Toilet – Emergency cord | Provide audible & visual alarm with pull cord located within reach from the wc | Sept 2017 | C | £150 | Arcadis | Achieved |

Accessibility: Building and Facilities

|  | Building and Facilities p 6 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| HN 053 32. | Access door to copy room | Replace door to comply with specification HN 035. | Sept 2012 | B | £100 | Arcadis | Achieved |
| HN 057 33. | Staffroom/kitchen | Upgrade lighting levels. | Sept 2017 | C | £450 | Arcadis |  |
| HN 0584 34. | Staffroom/kitchen | Provide a raised edge to worktops. | Sept 2017 | B | £50 | Arcadis / Site Manager |  |
| HN 059 35. | Taps in Nursery kitchen | Provide lever type taps in Nursery kitchen. | Sept 2017 | B | £80 | Arcadis / Site Manager |  |
| HN 059 36. | Taps in staffroom kitchen | . Provide lever type taps in staffroom kitchen. | Sept 2017 | B | £80 each | Arcadis / Site Manager |  |
| HN 061 37. | Doors as means of escape | Ensure doors meet minimum clear opening requirements as in HN 032 & HN 035. | Sept 2017 | C | 3000 | Arcadis |  |

Accessibility : Building and Facilities

|  | Building and Facilities p 7 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| HN 062 38. | Means of escape (Corridors) | Furniture in corridors. See HN 024 | As required |  |  | All staff | Achieved |
| HN 063 39. | Whole building – Fire/evacuation Alarm system | Provide an emergency lighting system to all escape routes (already in C5 & C6) | Sept 2009 | C | £450 | Arcadis | Achieved |
| HN 064 40. | Classroom 1 to 12 Access doors | See HN 043 & HN 036 re vision panels & minimum clear opening. | Sept 2010 | C | £1800 | Arcadis | Achieved |
| HN 067 41. | Access doors in Art Room, Literacy Room, Music Room | See schedule HN 036 & HN 034. | Sept 2017 | C | £1800 | Arcadis |  |
| HN 067 42. | Access doors in ICT suite, Quiet Room, Nursery | See schedule HN 036 & HN 034. | Sept 2016 | C | £1800 each | Arcadis | Achieved |
| HN 068 43. | ICT Suite chairs | Provide some chairs with arm rests in ICT suite. | Sept 2012 | B | £500 | EHT | Achieved |

Accessibility: Access to Information

|  | Access to Information p 1 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| 1 | Access to Information | Staff aware of techniques and practices to assist pupils, parents/carers with disabilities, eg positioning when talking to a hearing impaired learner. | Sept 2012 | B | Staff meeting time and availability of portable loop on request. | SENDCo | Achieved in part. Loop system available on request. |
| 2 | Access to Information | All school documentation follows an agreed style Times New Roman. | Ongoing | A | Ongoing | EHT / SENDCo | Achieved |
| 3 | Access to Information | To provide training and support for teachers in providing appropriate differentiation.. | Ongoing | A | Inset cost Staff meeting time | EHT / SENDCo | Achieved |
| 4 | Access to Information | To review and revise all school policies and procedures to ensure access to all. | Sept 2006 Annually | A | Directed time | SMT | Achieved |
| 5 | Access to Information | To ensure that text is not printed over images. | Ongoing | A | Preparation Directed time | EHT / SENDCo | Achieved Ongoing |

Accessibility: Access to Information

|  | Access to Information p 2 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| 6 | Access to Information | To ensure that school website is accessible to disabled persons with regard to: type used colour used images used site map included access without need to use a mouse. | Upgrade in Feb 2017 | A | Directed time | EHT / SENDCo / ICT Co-ordinator | Achieved |
| 7 | Access to Information | To create an Inclusive learning environment. | Ongoing | A | Inset costs Supply cover Staff meeting time | All staff | Achieved |
| 8 | Access to Information | School liaises with LA Support Services to provide information in: - simple, clear language - symbols - large print - audio tape - Braille - own native language For those pupils, parents/carers who may have difficulty with standard print format. | As required | A | Directed time | EHT / SENDCo | As required |

Accessibility : Access to Information

|  | Access to Information p 3 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| 9 | Access to Information | School ensures that in both lessons & parents meetings information in presented in a user friendly way. Eg Reading aloud, use of overhead projectors/PowerPoint presentations as well as written format. | As required | A | Directed time | EHT / SENDCo | Achieved Ongoing |
| 10 | Access to Information | To ensure that enlarged print/ symbols do not appear “grainy” | Ongoing | A | Directed time | All staff | Achieved Ongoing |

Accessibility: Curriculum

|  | Curriculum : Removal of Barriers to Learning p 1 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| 1 | Removal of barriers to learning | Prepare for Dyslexia Friendly Status Stage 2 | March 2007 | A | SENCO directed time | SENDCo | Achieved Ongoing |
| 2 | Removal of barriers to learning | To provide all documentation in different formats, on request. | As required | A | Admin time | EHT / SENDCo | Achieved Ongoing |
| 4 | Removal of barriers to learning | To update staff training re Dyslexia . | Mar 2007 | A | Staff meeting time | EHT / SENDCo | Achieved Ongoing |
| 5 | Removal of barriers to learning | To ensure use of coloured paper for worksheets, newsletters, labels, Homework etc. | Ongoing | A |  | EHT / SENDCo | Achieved Ongoing |
| 6 | Removal of barriers to learning | To ensure labels around school are easily accessible, ie not black on white and print size is appropriate | Ongoing | A |  | EHT / SENDCo | Achieved / Ongoing |

Accessibility: Curriculum

|  | Curriculum : Removal of Barriers to Learning p 2 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| 7 | Removal of barriers to learning | To ensure photographic labels are displayed on classroom doors and admin office. | Sept 2016 | A | Photographic printing costs and directed time | SENDCo | Achieved Ongoing |
| 8 | Removal of barriers to learning | To display pictorial representations of items regularly in use to support pupil learning. | Sept 2016 | A | Photographic printing costs and directed time | SENDCo | Achieved Ongoing |
| 9 | Removal of barriers to learning | To review and revise policy for inclusion. To work towards obtaining ‘Inclusion Mark’ | Sept annually Sept 2016 | A | Staff meeting and directed time to compile portfolios of evidence. | EHT / SENDCo | Achieved Ongoing |
| 10 | Removal of barriers to learning | To display check off list in all classrooms re assessing concerns re a child with Dyslexia.. | Mar 2007 | A | Staff meeting Photocopying of check off list. | SENDCo | Achieved Ongoing |
| 11 | Removal of barriers to learning | Obtaining ‘Lucid Rapid’ screening assessment software. | Mar 2007 | A | £100 | SENDCo | Achieved |

Accessibility: Curriculum

|  | Curriculum : Removal of Barriers to Learning p 3 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| 13 | Removal of barriers to learning | To provide staff with training to support pupils with hearing impairment. | Sept 2017 | B | Inset costs | EHT / SENDCo | As required |
| 14 | Removal of barriers to learning | To provide staff with training to support pupils with visual impairment. | Sept 2017 | B | Inset costs | EHT / SENDCo | As required |
| 15 | Removal of barriers to learning | To provide staff with training to support pupils with ADHD. | Sept 2016 | B | Inset costs | SENDCo | Achieved Ongoing |
| 16 | Removal of barriers to learning | To provide staff with ways to support pupils with physical needs. | Updated Sept 2016 | B | Inset costs | SENDCo | Achieved Ongoing |
| 17 | Removal of barriers to learning | To provide staff with ways to support pupils with medical needs. | Updated Sept 2016 | B | Inset costs | SENDCo | Achieved Ongoing |
| 18 | Removal of barriers to learning | Awareness of provision for wheelchair access. | Updated Sept 2012 | B | Inset costs | SENDCo | Achieved Ongoing |

Accessibility: Curriculum

|  | Curriculum : Removal of Barriers to Learning p 4 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| 19 | Removal of barriers to learning | To update knowledge of staff re Inclusion and disability equality. | Sept 2015 | A | Inset costs | EHT / SENDCo | Achieved Ongoing |
| 20 | Removal of barriers to learning | To support all pupils with Special Educational Needs. | Ongoing | A | Directed time | EHT / SENDCo | Achieved Ongoing |
| 21 | Removal of barriers to learning | To provide specialist equipment. | Ongoing | A As required | Costs of equipment | EHT / SENDCo | Achieved Ongoing |
| 22 | Removal of barriers to learning | Review and revision of systems and policies. | Sept Annually | A | Staff meeting time | SENDCo | Achieved Ongoing |
| 23 | Removal of barriers to learning | To recognise pupil diversity through differentiation, groupings, delivery & techniques used in T & L | Annually | A | Lesson observations | EHT / HoS / SENDCo /Curriculum Leads | Achieved Ongoing |
| 24 | Removal of barriers to learning | To use PIVATS to identify targets & measure pupil progress. | Ongoing | A | Staff meeting Assessment time. | SENDCo | Achieved Ongoing |

Accessibility: Curriculum

|  | Curriculum : Removal of Barriers to Learning p 5 |
| --- | --- |
| Ref | Area | Action to be taken | Timescale | Priority | Resource Implications | Lead person | Monitoring and Evaluation |
| 25 | Removal of barriers to learning | To provide an induction for new staff re Accessibility. | Annual September or as required | A | Induction programme Staff handbook | EHT | As required |